|  | SECTION 0 |  |  |
| --- | --- | --- | --- |
|  | DESCRIPTION OF THE WORKS |  |  |
| General description of the works | 0.01 | The works to be executed under this contract include, but not limited to, the following main items: |  |
|  |  | (1) | To modify a section of vertical noise barrier from the existing 3m high to 5m high with about 20m in length along Yuen Long Highway near Park Signature; |
|  |  | (2) | To modify a section of vertical noise barrier from the existing 4m high to 5m high with about 300m in length along Yuen Long Highway near Park Signature; and |
|  |  | (3) | To modify a section of vertical noise barrier from the existing 4m high to 6m high with about 270m in length along Yuen Long Highway near Park Signature. |
|  | 0.02 | Not Used |  |
| The Site and site accesses | 0.03 | (1) | The Site for providing of the Works is shown on the Drawings. |
|  |  | (2) | The boundaries of the site are indicative only and the Contractor shall seek confirmation from the Supervisor of the exact boundaries on site where necessary. |
|  |  | (3) | The Contractor shall seek permission from the authorities concerned and their maintenance agents before commencement of any works within such areas. The authorities concerned shall include, but not limited to, Architectural Services Department, Drainage Services Department, Electrical and Mechanical Services Department, Highways Department, Hong Kong Police Force, Lands Department, Leisure and Cultural Services Department, Transport Department and Water Supplies Department. |
|  |  | (4) | When the Site becomes available, the Contractor shall take charge and be responsible for its care and control including keeping it clean and clear of illegal occupation. |
|  |  | (5) | Except if and to the extent otherwise provided for in this contract, the Site shall not be used for purposes other than those required for providing the works. |
|  |  | (6) | In formulating his programme and construction method for providing the Works, the Contractor shall take due cognisance of the restrictive accessibility of the Site. The Contractor’s attention is drawn to the requirements in the Specification relating to working on or near a public road, including the safeguarding and mitigating impacts upon existing traffic flow and the formulation of temporary traffic measures as specified in Section 1 of the Specification. |
| PS clause numbering | 0.04 | (1) | In this Particular Specification, the following shall apply: |
|  |  |  | (a) Clauses/sub-clauses/tables with the suffix “S” substitute the corresponding Clauses/sub-clauses/tables in the GS. |
|  |  |  | (b) Clauses/tables with the suffix “A”, “B”, “C” etc are additional clauses/tables. |
|  |  |  | (c) Clauses/sub-clause/table number not appearing in the GS denotes additional clause/sub-clause/table. |
|  |  |  | When a section of the General Specification is deleted in total, it is mentioned in the beginning of the corresponding PS section and no suffix will be added to each Clause/sub-clause/table in the PS section. |  | When a section of the General Specification is deleted in total, it is mentioned in the beginning of the corresponding PS section and no suffix will be added to each Clause/sub-clause/table in the PS section. |
| Intellectual property rights | 0.05 | If the Contractor intends to use the intellectual property rights of another party in performing his obligations under this contract, appropriate licences shall be obtained from the relevant owners. |  |